## Manipur
National Load Despatch Centre
Import of Manipur Transfer Capability for April 2021
Issue Date: 22nd April 2021 |  |  | Issue Time: 1600 hrs |  |  |  | Revision No. 0
Date | Time Period in IST (hrs) | Total Transfer Capability (TTC) | Reliability Margin | Available Transfer Capability (ATC) | Long Term Access (LTA)/ Medium Term Open Access (MTOA) # | Margin Available for Short Term Open Access (STOA) | Changes in TTC w.r.t. Last Revision | Comments
1st Apr 2021 to 30th Apr 2021 | 00 - 18 | 220 | 5 | 215 | 0 | 215 | -
| 18- 22 | 210 | 5 | 205 | 0 | 205 | -
| 22 - 24 | 220 | 5 | 215 | 0 | 215 | -
Limiting Constraints |  | N-1 of 132kV Imphal MA- Imphal PG Ckt I and constraint observed in 132 kV Imphal (MA)-Imphal (PG) II & III