## Nagaland
National Load Despatch Centre
Import of Nagaland Transfer Capability for April 2021
Issue Date: 22nd April 2021 |  |  | Issue Time: 1600 hrs |  |  |  | Revision No. 0
Date | Time Period in IST (hrs) | Total Transfer Capability (TTC) | Reliability Margin | Available Transfer Capability (ATC) | Long Term Access (LTA)/ Medium Term Open Access (MTOA) # | Margin Available for Short Term Open Access (STOA) | Changes in TTC w.r.t. Last Revision | Comments
1st Apr 2021 to 30th Apr 2021 | 00 - 18 | 170 | 5 | 165 | 13 | 152 | -
| 18- 22 | 180 | 5 | 175 | 13 | 162 | -
| 22 - 24 | 170 | 5 | 165 | 13 | 152 | -
Limiting Constraints |  | N-1 of 220/132 kV ,100 MVA Dimapur ICT and limiting elements observed are 220/132 kV ,30 MVA Mokokchung ICTs